## Sheet1
analyte_key | analyte_type | analyte_name | analyte_abbrev | analyte_code | pieces_of_data | analyte_data_type | analyte_format | uom_abbrev | analyte_source_type | analyte_desc | analyte_size_frac_base | source_system_name
1051 | aggregate analyte | Acetate, water extract | oac_watx | OAc_wx | 649 | F | 5.1 | µg/kg | layer | The acetate anion in the water extract. |  | SSL LIMS Version 1.0
537 | aggregate analyte | Aluminum, Element Mehlich3 Extractable | al_el_meh3 | AlMeh3 | 1020 | F | 3.1 | mg/kg | layer | The aluminum extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
634 | aggregate analyte | Aluminum, Water Extractable | al_watx | Al_wx | 794 | F | 3.1 | µg/kg | layer | The aluminum extracted by the Water solution. |  | SSL LIMS Version 1.0
27 | aggregate analyte | Arsenic, Element Mehlich3 Extractable | as_el_meh3 | AsMeh3 | 1020 | F | 3.1 | mg/kg | layer | The arsenic extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
382 | aggregate analyte | Arsenic, Water Extractable | as_watx | As_wx | 794 | F | 3.1 | µg/kg | layer | The arsenic extracted by the Water solution. |  | SSL LIMS Version 1.0
688 | aggregate analyte | Barium, Element Mehlich3 Extractable | ba_el_meh3 | BaMeh3 | 1020 | F | 3.1 | mg/kg | layer | The barium extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
786 | aggregate analyte | Barium, Water Extractable | ba_watx | Ba_wx | 794 | F | 3.1 | µg/kg | layer | The barium extracted by the Water solution. |  | SSL LIMS Version 1.0
541 | aggregate analyte | Boron, water extract | b_watx | B_wx | 517 | F | 5.1 | µg/kg | layer | Boron in the water extract. |  | SSL LIMS Version 1.0
486 | aggregate analyte | Bromide, water extract | br_watx | Br_wx | 809 | F | 5.1 | µg/kg | layer | The bromide anion in the water extract. |  | SSL LIMS Version 1.0
44 | aggregate analyte | Bulk Density, <2mm Fraction, Air-dry | db_ad | DbAD | 958 | F | 4.2 | g/cc | layer | CMS analyte. Bulk density, air-dry (30 C) is the weight per unit volume of the <2 mm fraction, with volume measured on air--dry (30 C) natural fabric (clods). It is reported as grams per cubic centimeter on a <2 mm base. |  | NSSL CMS
1204 | aggregate analyte | Bulk Density, 1/3 Bar, Estimated | db_3est | Db3est | 8164 | F | 4.2 | g/cc | layer | Bulk density, 1/3 bar is estimated when no measured value exists. It has been estimated from rupture resistance, particle size distribution, and organic carbon. |  | NSSL CMS | Would like to see the scripts
794 | aggregate analyte | C, KMnO4 extract | CKMnO4 | CKMnO4 | 2837 | F | 4.1 | mg/kg | layer | The carbon content based on KMnO4 extraction. |  | SSL LIMS Version 1.0 | Active Carbon test. Need to figure out where to put this on the sheet
28 | aggregate analyte | Cadmium, Element Mehlich3 Extractable | cd_el_meh3 | CdMeh3 | 1020 | F | 3.1 | mg/kg | layer | The cadmium extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
1039 | aggregate analyte | Cadmium, Water Extractable | cd_watx | Cd_wx | 794 | F | 3.1 | µg/kg | layer | The cadmium extracted by the Water solution. |  | SSL LIMS Version 1.0
1017 | aggregate analyte | Calcium, Element Mehlich3 Extractable | ca_el_meh3 | CaMeh3 | 1020 | F | 3.1 | mg/kg | layer | The calcium extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
626 | aggregate analyte | Calcium, Water Extractable | ca_watx | Ca_wx | 794 | F | 3.1 | µg/kg | layer | The calcium extracted by the Water solution. |  | SSL LIMS Version 1.0
633 | derived_analyte | Carbon, hmin | Chmin | c_hmin_d-1_S | 1879 | F | 6.2 | % wt | layer | The carbon content of the less than 53 micron fraction. | <2 mm | SSL LIMS Version 1.0
635 | aggregate analyte | Carbon, hpom | Chpom | Chpom | 1938 | F | 6.2 | % wt | layer | The carbon content of the particulate organic matter (>53 micron) |  | SSL LIMS Version 1.0
632 | aggregate analyte | Carbonate, 2-20mm Fraction | caco32_20 | CaCO20 | 1958 | F | 3 | % wt | layer | Carbonate in the 2-20mm fraction is measured by CO2 evolution after acid treatment. It is reported as gravimetric percent CaCO3 on a 2-20 mm base, even though carbonates of Mg, Na, K, and Fe may be present and react with the acid. |  | NSSL CMS
1232 | aggregate analyte | Carbonate, 2-20mm Fraction | caco32_20 | CaCO20 | 366 | F | 3 | % wt | layer | Carbonate in the 2-20mm fraction is measured by CO2 evolution after acid treatment. It is reported as gravimetric percent CaCO3 on a 2-20 mm base, even though carbonates of Mg, Na, K, and Fe may be present and react with the acid. |  | SSL LIMS Version 1.0
26 | derived_analyte | CEC Activity, CEC7/Clay, Weighted Average | cec7_cly_cms | wace7cl_d-1_S | 13270 | F | 5.2 | (NA) | pedon | Weighted average cec-7 to clay ratio for control section depths | <2 mm | NSSL CMS
1473 | derived_analyte | CEC Activity, CEC7/Clay, Weighted Average, CECd, Set 1 | cec7_cly_cecd1_wtavg | wace7cl_d-4_S | 2466 | F | 5.2 | (NA) | pedon | Weighted average cec-7 to clay ratio for control section depths | <2 mm | SSL LIMS Version 1.0
27 | derived_analyte | CEC Activity, CEC7/Clay, Weighted Average, CECd, Set 3 | cec7_cly_cecd3_wtavg | wace7cl_d-6_S | 25 | F | 5.2 | (NA) | pedon | Weighted average cec-7 to clay ratio for control section depths | <2 mm | SSL LIMS Version 1.0
1265 | derived_analyte | CEC Activity, CEC7/Clay, Weighted Average, CECd, Set 4 | cec7_cly_cecd4_wtavg | wace7cl_d-7_S | 990 | F | 5.2 | (NA) | pedon | Weighted average cec-7 to clay ratio for control section depths | <2 mm | SSL LIMS Version 1.0
1186 | derived_analyte | CEC Activity, CEC7/Clay, Weighted Average, Set 1 | cec7_cly_cec1_wtavg | wace7cl_d-1_S | 263 | F | 5.2 | (NA) | pedon | Weighted average cec-7 to clay ratio for control section depths | <2 mm | SSL LIMS Version 1.0
1185 | aggregate analyte | Chloride, water extract | cl_watx | Cl_wx | 811 | F | 5.1 | µg/kg | layer | Chloride in the water extract. It is reported as meq per liter of extract. |  | SSL LIMS Version 1.0
1126 | aggregate analyte | Chromium, Element Mehlich3 Extractable | cr_el_meh3 | CrMeh3 | 1020 | F | 3.1 | mg/kg | layer | The chromium extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
1284 | aggregate analyte | Chromium, Water Extractable | cr_watx | Cr_wx | 794 | F | 3.1 | µg/kg | layer | The chromium extracted by the Water solution. |  | SSL LIMS Version 1.0
1286 | derived_analyte | Clay, carbonate free, N prep | nco3_cly | nco3cly_d-0_N | 2825 | F | 4.1 | % wt | layer | Non-carbonate clay. CMS derived value default | <2 mm | NSSL CMS
1283 | derived_analyte | Clay, carbonate free, Weighted Average | nco3_clay_wtavg | clyavg_d-1 | 15564 | F | 3 | % wt | pedon | Weighted average clay content for specific depths | <2 mm | NSSL CMS
1280 | derived_analyte | Clay, carbonate free, Weighted Average | nco3_clay_wtavg | clyavg_d-1 | 3661 | F | 3 | % wt | pedon | Weighted average clay content for specific depths | <2 mm | SSL LIMS Version 1.0
1267 | derived_analyte | Clay, carbonate free. | nco3_cly | nco3cly_d-0_S | 144959 | F | 4.1 | % wt | layer | Non-carbonate clay. CMS derived value default | <2 mm | NSSL CMS
1119 | aggregate analyte | Clay, Ethanol Disp, Air-dry, Ultra | e_cly_u | Cly_E | 90 | F | 4.1 | % wt | layer | Ethanol and Ultrasonic probe dispersible clay, <2mm (by pipette) is the gravimetric percent of <0.002 mm particles dispersed without organic matter and salt removal, and without chemical dispersion. It is reported on a <2 mm base. |  | SSL LIMS Version 1.0
1106 | aggregate analyte | Clay, Noncarbonate | nco3_cly | ClyNCO | 43484 | F | 4.1 | % | layer | Non Carbonate Clay is the weight percentage of noncarbonate clay relative to the total <2mm fraction |  | SSL LIMS Version 1.0
1107 | aggregate analyte | Clay, Noncarbonate, Moist | nco3_cly_moist | NCClyM | 562 | F | 4.1 | % | layer | Non Carbonate Clay is the weight percentage of noncarbonate clay relative to the total <2mm fraction for moist sample. |  | SSL LIMS Version 1.0
1108 | derived_analyte | Clay, total, Weighted Average | clay_tot_wtavg | wacltot_d-1_S | 15563 | F | 3 | % wt | pedon | Weighted average total clay content for control section depths | <2 mm | NSSL CMS
1330 | derived_analyte | Clay, total, Weighted Average | clay_tot_wtavg | wacltot_d-1_S | 3612 | F | 3 | % wt | pedon | Weighted average total clay content for control section depths | <2 mm | SSL LIMS Version 1.0
1217 | derived_analyte | Coarse Fragments, 2-20mm, 75 mm Base | wf_220 | wp220_d-1_S | 9463 | F | 3 | % wt | layer | The gravimetric percentage of 2 to 20 mm diameter particles is reported on a <75 mm base. | <75 mm | NSSL CMS
1230 | aggregate analyte | Coarse Fragments, 2-5mm, Slaking Percentage | sp_25 | SP_25 | 47699 | F | 3 | % wt | layer | The gravimetric percentage of 2 to 5 mm diameter particles slaking. |  | SSL LIMS Version 1.0 | Check with Larry
1425 | derived_analyte | Coarse Fragments, 2-75mm, Volume Percent, 75 mm Base | vf_275 | vf275_d-1_S | 46694 | F | 3 | % vol | layer | The volumetric percentage of the 2 to 75 mm diameter particles reported on a <75 mm base. | <75 mm | SSL LIMS Version 1.0
1216 | derived_analyte | Coarse Fragments, Greater 2mm, Wt Percent, Whole Soil Base | wf_g2_ws | wpG2ws_d-1_S | 157546 | F | 3 | % wt | layer | The gravimetric percentage of greater than 2 mm diameter particles reported on a whole soil base. | whole soil | NSSL CMS
1282 | derived_analyte | Coarse Fragments, Greater 2mm, Wt Percent, Whole Soil Base | wf_g2_ws | wpG2ws_d-1_S | 46694 | F | 3 | % wt | layer | The gravimetric percentage of greater than 2 mm diameter particles reported on a whole soil base. | whole soil | SSL LIMS Version 1.0
1285 | derived_analyte | Coarse Fragments, Less 2mm, Volume Fraction, 75 mm Base | vf_l2 | vfL2_d-1_S | 153519 | F | 3.2 | % vol | layer | The volumetric fraction of less than 2 mm diameter particles reported on a <75 mm base. | <75 mm | NSSL CMS
1113 | derived_analyte | Coarse Fragments, Less 2mm, Volume Fraction, 75 mm Base | vf_l2 | vfL2_d-1_S | 46891 | F | 3.2 | % vol | layer | The volumetric fraction of less than 2 mm diameter particles reported on a <75 mm base. | <75 mm | SSL LIMS Version 1.0
1215 | derived_analyte | Coarse Fragments, Less 2mm, Volume Fraction, Whole Soil Base | vf_l2_ws | vfL2ws_d-1_S | 152912 | F | 3.2 | (NA) | layer | The volumetric fraction of less than 2 mm diameter particles reported on a whole soil base. | whole soil | NSSL CMS
1264 | derived_analyte | Coarse Fragments, Less 2mm, Volume Fraction, Whole Soil Base | vf_l2_ws | vfL2ws_d-1_S | 46672 | F | 3.2 | (NA) | layer | The volumetric fraction of less than 2 mm diameter particles reported on a whole soil base. | whole soil | SSL LIMS Version 1.0
1117 | aggregate analyte | Cobalt, Element Mehlich3 Extractable | co_el_meh3 | CoMeh3 | 1020 | F | 3.1 | mg/kg | layer | The cobalt extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
1767 | aggregate analyte | Cobalt, Water Extractable | co_watx | Co_wx | 794 | F | 3.1 | µg/kg | layer | The cobalt extracted by the Water solution. |  | SSL LIMS Version 1.0
1765 | derived_analyte | COLE, Ovendry to 1/3 Bar, <2mm | COLEl2 | COLEl2_d-1 | 56446 | F | 4.3 | (NA) | layer | The coefficient of linear extensibility is a derived value that denotes the fractional change in the fine-earth fraction dimension from a dry to a moist state . | <2 mm | NSSL CMS
1766 | derived_analyte | COLE, Ovendry to 1/3 Bar, <2mm | COLEl2 | COLEl2_d-1 | 20343 | F | 4.3 | (NA) | layer | The coefficient of linear extensibility is a derived value that denotes the fractional change in the fine-earth fraction dimension from a dry to a moist state . | <2 mm | SSL LIMS Version 1.0
1769 | aggregate analyte | Copper, Element Mehlich3 Extractable | cu_el_meh3 | CuMeh3 | 1020 | F | 3.1 | mg/kg | layer | The copper extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
1768 | aggregate analyte | Copper, Water Extractable | cu_watx | Cu_wx | 794 | F | 3.1 | µg/kg | layer | The copper extracted by the Water solution. |  | SSL LIMS Version 1.0
1764 | aggregate analyte | Corrected ADOD | c_adod | c_adod | 1883 | F | 4.3 | (NA) | layer | ADOD Corrected for Gypsum (ADOD * Factor) |  | NSSL CMS
1763 | aggregate analyte | Corrected ADOD | c_adod | c_adod | 4343 | F | 4.3 | (NA) | layer | ADOD Corrected for Gypsum (ADOD * Factor) |  | SSL LIMS Version 1.0
1770 | aggregate analyte | Corrected ADOD, 2-20mm | c_adod_2_20 | ADODc | 157 | F | 4.3 | % wt | layer | ADOD Corrected for Gypsum (ADOD * Factor) |  | SSL LIMS Version 1.0
2088 | aggregate analyte | Corrected Gypsum, 2-20mm | c_gyp_2_20 | cGyp20 | 296 | F | 3 | % wt | layer | Calcium sulfate as gypsum in the 2-20 mm fraction is reported as a gravimetric percent on a 2-20 mm base. |  | NSSL CMS
243 | aggregate analyte | Corrected Gypsum, 2-20mm | c_gyp_2_20 | cGyp20 | 177 | F | 3 | % wt | layer | Calcium sulfate as gypsum in the 2-20 mm fraction is reported as a gravimetric percent on a 2-20 mm base. |  | SSL LIMS Version 1.0
1218 | derived_analyte | Cumulative Curve, <0.3mm, <75mm | CC30P | cc30p_d-1_S | 135179 | F | 4.1 | mm | layer | The cumulative gravimetric percentage of particles with <0.3 mm diameter, reported on a <3 inch base. | <75 mm | NSSL CMS
710 | aggregate analyte | Effervescence, 1N HCl | efferv_1nhcl | Efferv | 49715 | C | 11 | (NA) | layer | The visual effervescence of the prepared sample when treated with 1N HCl. |  | SSL LIMS Version 1.0
1239 | aggregate analyte | Electrical Conductivity, water extract | ec_watx | EC_wx |  | F | 5.2 | dS/m | layer
44 | derived_analyte | Estimated Gypsum, Set 1, S Prep | egyp1 | egyp_d-1_S | 31 | F | 3 | % wt | layer | Equivalent gypsum in the <2 mm fraction is reported as a gravimetric percent on a <2 mm base. | <2 mm | SSL LIMS Version 1.0
1386 | derived_analyte | Estimated Gypsum, Set 2, S Prep | egyp2 | egyp_d-1_S | 170 | F | 3 | % wt | layer | Equivalent gypsum in the <2 mm fraction is reported as a gravimetric percent on a <2 mm base. | <2 mm | SSL LIMS Version 1.0
1211 | derived_analyte | Estimated Gypsum, Set 3, S Prep | egyp3 | egyp_d-3_S | 174 | F | 3 | % wt | layer | Equivalent gypsum in the <2 mm fraction is reported as a gravimetric percent on a <2 mm base. | <2 mm | SSL LIMS Version 1.0
1235 | derived_analyte | Estimated organic carbon | c_org_est | corgest_d-0_S | 7633 | F | 4.1 | % wt | layer | Estimated soil organic carbon. Total carbon minus .13 X CaCO3 | <2 mm | NSSL CMS
1208 | derived_analyte | Estimated Organic Carbon | eoc_tot_c | eoc_d-1_S | 16139 | F | 4 | % | layer | Estimated Organic Carbon based on Total C and carbonates | <2 mm | NSSL CMS
1233 | derived_analyte | Estimated Organic Carbon, CO2 | eoc_co2_c | eocco2c_d-1_S | 29679 | F | 4 | % | layer | Estimated Organic Carbon based on CO2 C | <2 mm | SSL LIMS Version 1.0
1212 | derived_analyte | Estimated Organic Carbon, Total C, GP prep | eoc_tot_c | eoctotc_d-1_GP | 181 | F | 4.1 | % | layer | Estimated Organic Carbon based on Total C, GP prep | <2 mm | SSL LIMS Version 1.0
1236 | derived_analyte | Estimated Organic Carbon, Total C, N prep | eoc_tot_c | eoctotc_d-1_N | 3226 | F | 4.1 | % | layer | Estimated Organic Carbon based on Total C, N prep | <2 mm | SSL LIMS Version 1.0
1209 | derived_analyte | Estimated Organic Carbon, Total C, S prep | eoc_tot_c | eoctotc_d-1_S | 29812 | F | 4.1 | % | layer | Estimated Organic Carbon based on Total C, S prep | <2 mm | SSL LIMS Version 1.0
1234 | derived_analyte | Estimated Predict Gypsum, S Prep | epregyp | epregyp_d-1_S | 429 | F | 3 | % wt | layer | Estimated gypsum adjusted for EC-Predict in the <2 mm fraction is reported as a gravimetric percent on a <2 mm base. | <2 mm | SSL LIMS Version 1.0
1210 | aggregate analyte | Fluoride, water extract | fl_watx | F_wx | 810 | F | 5.1 | µg/kg | layer | Fluoride in the water extract. It is reported as meq per liter of extract. |  | SSL LIMS Version 1.0
1883 | aggregate analyte | Gypsum, Equivalent Content | gypsum_ec | GypEC | 435 | F | 4.1 | % wt | layer | to be added |  | SSL LIMS Version 1.0 | Export data to NASIS Field Lab Table.
1475 | aggregate analyte | Iron, Element Mehlich3 Extractable | fe_el_meh3 | FeMeh3 | 1020 | F | 3.1 | mg/kg | layer | The iron extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
1472 | aggregate analyte | Iron, Water Extractable | fe_watx | Fe_wx | 794 | F | 3.1 | µg/kg | layer | The iron extracted by the Water solution. |  | SSL LIMS Version 1.0
1101 | derived_analyte | LE, Whole Soil, Summed to 1m | COLEws_sum | sulews_d-1_S | 4087 | F | 3 | cm/m | pedon | Summation coefficient of linear extensibility to 1 meter in depth | whole soil | NSSL CMS
1105 | derived_analyte | LE, Whole Soil, Summed to 1m | COLEws_sum | sulews_d-1_S | 1866 | F | 3 | cm/m | pedon | Summation coefficient of linear extensibility to 1 meter in depth | whole soil | SSL LIMS Version 1.0
1353 | aggregate analyte | Lead, Element Mehlich3 Extractable | pb_el_meh3 | PbMeh3 | 1020 | F | 3.1 | mg/kg | layer | The lead extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
1150 | aggregate analyte | Lead, Water Extractable | pb_watx | Pb_wx | 794 | F | 3.1 | µg/kg | layer | The lead extracted by the Water solution. |  | SSL LIMS Version 1.0
285 | derived_analyte | Linear Extensibility, 1/3 Bar to Ovendry, Rewet | le_d3rw | LEd3rw_d-1 | 32 | F | 4.1 | % len | layer | Linear extensibility percent, rewet, 1/3 bar/OD isthe percent dimensional change of a rewet clod as water content changes from oven dry to 1/3 bar tension. It is reported as percent length change on a<2 mm base. | whole soil | NSSL CMS
688 | derived_analyte | Linear Extensibility, Field Moist To Ovendry | le_fmod | LEfmod_d-1 | 1204 | F | 4.1 | % len | layer | Linear extensibility percent, field moist to ovendry is the percent change in a clod dimension as water content changes from oven dry to field moist water tension. It is reported as percent length change on a <2 mm base. | <2 mm | NSSL CMS
1352 | aggregate analyte | Magnesium, Element Mehlich3 Extractable | mg_el_meh3 | MgMeh3 | 1020 | F | 3.1 | mg/kg | layer | The magnesium extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
1378 | aggregate analyte | Magnesium, Water Extractable | mg_watx | Mg_wx | 792 | F | 3.1 | µg/kg | layer | The magnesium extracted by the Water solution. |  | SSL LIMS Version 1.0
1385 | aggregate analyte | Manganese, Element Mehlich3 Extractable | mn_el_meh3 | MnMeh3 | 1020 | F | 3.1 | mg/kg | layer | The manganese extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
1366 | aggregate analyte | Manganese, Water Extractable | mn_watx | Mn_wx | 794 | F | 3.1 | µg/kg | layer | The manganese extracted by the Water solution. |  | SSL LIMS Version 1.0
1367 | derived_analyte | Mineral Interpretation, clay, Set 1 | min_interp_c1 | MIc_d-1_S | 9232 | C | 10 | (NA) | layer | Mineral interpretation from results on clay particle size fraction. | <0.002 mm | SSL LIMS Version 1.0
1369 | derived_analyte | Mineral Interpretation, clay, Set 2 | min_interp_c2 | MIc_d-2_S | 1954 | C | 10 | (NA) | layer | Mineral interpretation from results on clay particle size fraction. | <0.002 mm | SSL LIMS Version 1.0
1368 | derived_analyte | Mineral Interpretation, coarse silt | min_interp_csi | MIcsi_d-1_S | 3419 | C | 10 | (NA) | layer | Mineral interpretation from results on coarse silt particle size fraction. | 0.02-0.05 mm | SSL LIMS Version 1.0
1370 | derived_analyte | Mineral Interpretation, fine sand | min_interp_fs | MIfs_d-1_S | 2647 | C | 10 | (NA) | layer | Mineral interpretation from results on fine sand particle size fraction. | 0.1-0.25 mm | SSL LIMS Version 1.0
1373 | derived_analyte | Mineral Interpretation, N prep, clay, Set 2 | min_interp_c2 | MIc_d-2_N | 424 | C | 10 | (NA) | layer | Mineral interpretation from results on clay particle size fraction. | <0.002 mm | SSL LIMS Version 1.0
1381 | derived_analyte | Mineral Interpretation, N prep, csi | min_interp_csi | MIcsi_d-1_N | 46 | C | 10 | (NA) | layer | Mineral interpretation from results on coarse silt particle size fraction. | 0.02-0.05 mm | SSL LIMS Version 1.0
1376 | derived_analyte | Mineral Interpretation, N prep, fs | min_interp_fs | MIfs_d-1_N | 45 | C | 10 | (NA) | layer | Mineral interpretation from results on fine sand particle size fraction. | 0.1-0.25 mm | SSL LIMS Version 1.0
1356 | derived_analyte | Mineral Interpretation, S prep, clay, Set 3 | min_interp_c3 | MIc_d-3_S | 1348 | C | 10 | (NA) | layer | Mineral interpretation from results on clay particle size fraction. | <0.002 mm | SSL LIMS Version 1.0
1355 | derived_analyte | Mineral Interpretation, very fine sand | min_interp_vfs | MIvfs_d-1_S | 519 | C | 10 | (NA) | layer | Mineral interpretation from results on very fine sand particle size fraction. | 0.05-0.1 mm | SSL LIMS Version 1.0
1357 | aggregate analyte | Molybdenum, Element Mehlich3 Extractable | mo_el_meh3 | MoMeh3 | 1020 | F | 3.1 | mg/kg | layer | The molybdenum extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
1359 | aggregate analyte | Molybdenum, Water Extractable | mo_watx | Mo_wx | 794 | F | 3.1 | µg/kg | layer | The molybdenum extracted by the Water solution. |  | SSL LIMS Version 1.0
1358 | aggregate analyte | Nickel, Element Mehlich3 Extractable | ni_el_meh3 | NiMeh3 | 1020 | F | 3.1 | mg/kg | layer | The nickel extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
1363 | aggregate analyte | Nickel, Water Extractable | ni_watx | Ni_wx | 794 | F | 3.1 | µg/kg | layer | The nickel extracted by the Water solution. |  | SSL LIMS Version 1.0
1360 | aggregate analyte | Nitrate, water extract | no3_N_watx | NO3_wx | 811 | F | 5.1 | µg/kg | layer | Nitrate in the water extract. It is reported as meq per liter of extract. |  | SSL LIMS Version 1.0
1129 | aggregate analyte | Nitrate-N, Water Extractable | no3_no2_N_watx | NO3Nwx | 369 | F | 6.2 | µg/kg | layer | The nitrate nitrogen is the fraction in NO3 form. It is extracted by 1M KCl and represents the soluble NO3 that may be subject to leaching. |  | SSL LIMS Version 1.0
1471 | aggregate analyte | Nitrite, water extract | no2_N_watx | NO2_wx | 812 | F | 5.1 | µg/kg | layer | Nitrite in the water extract. It is reported as meq per liter of extract. |  | SSL LIMS Version 1.0
1333 | derived_analyte | Nitrogen, hmin | Nhmin | n_hmin_d-1_S | 1879 | F | 6.2 | % wt | layer | The nitrogen content of the less than 53 micron fraction. | <2 mm | SSL LIMS Version 1.0
1335 | aggregate analyte | Nitrogen, hpom | Nhpom | Nhpom | 1938 | F | 6.2 | % wt | layer | The nitrogen content of the particulate organic matter (>53 micron) |  | SSL LIMS Version 1.0
1337 | aggregate analyte | Particle density <2 mm | pd_l2 | PD_L2 | 32875 | F | 4.2 | g/cc | layer | Particle density <2mm fraction is the density of the <2 mm diameter particles. It is reported as grams per cubic centimeter of particles. If blank, a value of 2.65 g/cc is assumed for calculations. |  | NSSL CMS | Make available in the ACCESS database as long as it is not the constant
1336 | aggregate analyte | Particle density <2 mm | pd_l2 | PD_L2 | 107 | F | 4.2 | g/cc | layer | Particle density <2mm fraction is the density of the <2 mm diameter particles. It is reported as grams per cubic centimeter of particles. If blank, a value of 2.65 g/cc is assumed for calculations. |  | SSL LIMS Version 1.0
1338 | aggregate analyte | Particle density >2 mm | pd_g2 | PD_G2 | 34452 | F | 4.2 | g/cc | layer | Particle density >2mm is the density of the >2 mm diameter particles. It is reported as grams per cubic centimeter of particles. |  | NSSL CMS
1339 | aggregate analyte | Particle density >2 mm | pd_g2 | PD_G2 | 101 | F | 4.2 | g/cc | layer | Particle density >2mm is the density of the >2 mm diameter particles. It is reported as grams per cubic centimeter of particles. |  | SSL LIMS Version 1.0
1346 | aggregate analyte | pH, Water Extract | ph_watx | pH_wx | 812 | F | 3.1 | (NA) | layer | The pH, water extract is the pH of the solution extracted from the sample with water. It is used as an indicator of the irrigated pH of soils with water. |  | SSL LIMS Version 1.0
1341 | aggregate analyte | Phosphate, water extract | po4_watx | PO4_wx | 811 | F | 5.1 | µg/kg | layer | PO4 in the water extract. It is reported as meq per liter of extract. |  | SSL LIMS Version 1.0
1342 | aggregate analyte | Phosphorus, Anion Resin Extractable, 24 hour | p_resin24 | P_ar24 | 882 | F | 4.1 | mg/kg | layer | Anion Resin P, 24 hour reading, soil sample |  | SSL LIMS Version 1.0
1349 | aggregate analyte | Phosphorus, Anion Resin Water, 24 hour | p_resinw24 | Parw24 | 70 | F | 4.1 | µg/L | layer | Anion Resin P, 24 hour reading, water sample |  | SSL LIMS Version 1.0
1344 | aggregate analyte | Phosphorus, Total | p_tot | P_tot | 325 | F | 4.1 | % wt | layer | Total P is the phosphorus measured after total dissolution of a size fraction of soil material. It is stored as elemental percent and reported as percent oxide on the base of the size fraction used. |  | NSSL CMS
1340 | aggregate analyte | Phosphorus, Water Extractable | p_watx | P_wx | 794 | F | 3.1 | µg/kg | layer | The phosphorus extracted by the Water solution. |  | SSL LIMS Version 1.0
1350 | aggregate analyte | Plastic Limit, Atterberg | abgpl | abgpl | 11149 | I | 4 | % H2O | layer | Atterberg plastic limit is the water content of a soil at the boundary between the plastic and brittle states. It is defined by the ASTM D 4318 test. |  | NSSL CMS
1343 | aggregate analyte | p-nitrophenol, ß-Glucosidase | PNitrophen | PNitro | 1974 | I | 3 | mg/kg/hr | layer | The p-nitrophenol content based on ß-Glucosidase calibration. |  | SSL LIMS Version 1.0
1351 | aggregate analyte | Potassium, Element Mehlich3 Extractable | k_el_meh3 | KMeh3 | 1020 | F | 3.1 | mg/kg | layer | The potassium extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
1348 | aggregate analyte | Potassium, Water Extractable | k_watx | K_wx | 793 | F | 3.1 | µg/kg | layer | The potassium extracted by the Water solution. |  | SSL LIMS Version 1.0
1884 | derived_analyte | Ratio, Estimated Organic Carbon to Nitrogen, Total | eoctotc_totn_ra | CNeocr_d-1_S | 27803 | F | 3 | (NA) | layer | The Estimated Organic Carbon based on Total C to Total nitrogen ratio is calculated by eoc_tot_c/n_tot_ncs. | <2 mm | SSL LIMS Version 1.0
1757 | derived_analyte | Ratio, Sodium Absorption, SI-Set 1, N Prep | sar_si1 | SAR_d-1_N | 66 | F | 4 | % | layer | The sodium absorption ratio is calculated by NA_SATX/sqrt((CA_SATX+MG_SATX)/2). It is approximately equal to the exchangeable sodium percentage. | <2 mm | SSL LIMS Version 1.0
714 | derived_analyte | Resistant Minerals, Total, N prep, fs | resist_min_tot_fs | RMfs_d-1_N | 46 | I | 3 | % | layer | Total sand is the soil separate with 0.05 to 2.0 mm particle diameter. It is reported a gravimetric percent on a <2 mm base. | 0.1-0.25 mm | SSL LIMS Version 1.0
2073 | aggregate analyte | Sand, Coarse, Ethanol Disp, Air-dry, Ultra | e_snd_c_u | SndC_E | 89 | F | 4.1 | % wt | layer | Ethanol and Ultrasonic probe dispersible coarse sand, <2mm (by pipette) is the gravimetric percent 1.0 to 2.0 mm diameter particles separated without chemical dispersants or the removal of organic matter and salts. It is reported on a <2 mm base. |  | SSL LIMS Version 1.0
1755 | aggregate analyte | Sand, Fine, Ethanol Disp, Air-dry, Ultra | e_snd_f_u | SndF_E | 89 | F | 4.1 | % wt | layer | Ethanol and Ultrasonic probe disp fine sand, <2mm (by pipette) is the gravimetric percent of 0.10 to 0.25 mm diameter particles separated without the use of chemical dispersants or removal of organic matter and salts. It is reported on a <2 mm base. |  | SSL LIMS Version 1.0
1756 | aggregate analyte | Sand, Medium, Ethanol Disp, Air-dry, Ultra | e_snd_m_u | SndM_E | 89 | F | 4.1 | % wt | layer | Ethanol and Ultrasonic probe dispersible medium sand, <2mm (by pipette) is the gravimetric percent 0.25 to 0.50 mm diameter particles separated without chemical dispersants or removal of organic matter and salts. It is reported on a <2 mm base. |  | SSL LIMS Version 1.0
1754 | derived_analyte | Sand, Total, Ethanol Dispersible, Ultrasonic | e_snd_tot_u | SndEthU_d-1_S | 89 | F | 4.1 | % wt | layer | Ethanol and Ultrasonic probe dispersible sand, <2mm (by pipette) is the gravimetric percent 0.05 to 2.0 mm diameter particles separated without chemical dispersants or organic matter and salt removal. It is reported on a <2 mm base. | <2 mm | SSL LIMS Version 1.0
1752 | aggregate analyte | Sand, Very Coarse, Ethanol Disp, Air-dry, Ultra | e_snd_vc_u | SndVCE | 89 | F | 4.1 | % wt | layer | Ethanol and Ultrasonic probe dispersible very coarse sand, <2mm (by pipette) is the gravimetric percent 1.0 to 2.0 mm diameter particles separated without chemical dispersants or organic matter and salt removal. It is reported on a <2 mm base. |  | SSL LIMS Version 1.0
1753 | aggregate analyte | Sand, Very Fine, Ethanol Disp, Air-dry, Ultra | e_snd_vf_u | SndVFE | 89 | F | 4.1 | % wt | layer | Ethanol and Ultrasonic probe dispersible very fine sand, <2mm (by pipette) is the gravimetric percent 0.05 to 0.10 mm diameter particles separated without chemical dispersants or organic matter and salt removal. It is reported on a <2 mm base. |  | SSL LIMS Version 1.0
1524 | aggregate analyte | Selenium, Water Extractable | se_watx | Se_wx | 201 | F | 3.1 | µg/kg | layer | The selenium extracted by the Water solution. |  | SSL LIMS Version 1.0
1750 | aggregate analyte | Silicon, Dithionite Citrate Extractable | si_dith | Si_dc | 143 | F | 4.1 | % wt | layer | Dithionite citrate extractable silica is considered an indicator of the amount of amorphous or more readily soluble silica. It is reported as gravimetric % on a <2 mm base. |  | SSL LIMS Version 1.0
2087 | aggregate analyte | Silicon, Element Mehlich3 Extractable | si_el_meh3 | SiMeh3 | 1020 | F | 3.1 | mg/kg | layer | The silicon extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
740 | aggregate analyte | Silicon, Water Extractable | si_watx | Si_wx | 794 | F | 3.1 | µg/kg | layer | The silicon extracted by the Water solution. |  | SSL LIMS Version 1.0
1149 | derived_analyte | Silt, Total, Ethanol Dispersible, Ultrasonic | e_slt_tot_u | SiEthU_d-1_S | 90 | F | 4.1 | % wt | layer | Ethanol and Ultrasonic probe dispersible silt, <2mm (by pipette) is the gravimetric percent 0.002 to 0.05 mm diameter particles separated without chemical dispersants or organic matter and salt removal. It is reported on a <2 mm base. | <2 mm | SSL LIMS Version 1.0
1118 | aggregate analyte | Sodium, Element Mehlich3 Extractable | na_el_meh3 | NaMeh3 | 1020 | F | 3.1 | mg/kg | layer | The sodium extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
2021 | aggregate analyte | Sodium, Water Extractable | na_watx | Na_wx | 790 | F | 3.1 | µg/kg | layer | The sodium extracted by the Water solution. |  | SSL LIMS Version 1.0
1148 | aggregate analyte | Strontium, Element Mehlich3 Extractable | sr_el_meh3 | SrMeh3 | 1020 | F | 3.1 | mg/kg | layer | The strontium extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
709 | aggregate analyte | Strontium, Water Extractable | sr_watx | Sr_wx | 794 | F | 3.1 | µg/kg | layer | The strontium extracted by the Water solution. |  | SSL LIMS Version 1.0
519 | aggregate analyte | Sulfate, water extract | so4_watx | SO4_wx | 812 | F | 5.1 | µg/kg | layer | Sulfate in the water extract. It is reported as meq per liter of extract. |  | SSL LIMS Version 1.0
713 | derived_analyte | Sulfur, hmin | Shmin | s_hmin_d-1_S | 1857 | F | 6.2 | % wt | layer | The sulfur content of the less than 53 micron fraction. | <2 mm | SSL LIMS Version 1.0
627 | aggregate analyte | Sulfur, hpom | Shpom | Shpom | 1916 | F | 6.4 | % wt | layer | The sulfur content of the particulate organic matter (>53 micron) |  | SSL LIMS Version 1.0
486 | derived_analyte | Texture, USDA, Moist | tex_psda_Moist | MTextur_d-1_M | 520 | C | 4 | (NA) | layer | The laboratory determined texture of the <2 mm fraction is calculated from particle size separate data. | <2 mm | NSSL CMS
2072 | derived_analyte | Texture, USDA, Moist | tex_psda_Moist | MTextur_d-1_M | 566 | C | 4 | (NA) | layer | The laboratory determined texture of the <2 mm fraction is calculated from particle size separate data. | <2 mm | SSL LIMS Version 1.0
1099 | aggregate analyte | Vanadium, Water Extractable | v_watx | V_wx | 794 | F | 3.1 | µg/kg | layer | The vanadium extracted by the Water solution. |  | SSL LIMS Version 1.0
626 | derived_analyte | Volume Percentage, >20mm, Whole Soil | vfg20 | vpG20_d-1_S | 30 | F | 3 | % vol | layer | Particles with >20 mm diameter are reported as a volume percent on a whole soil at 1/3 bar water tension base. | whole soil | NSSL CMS
1502 | derived_analyte | Volume, >2mm, Weighted Average | vfg2_wtavg | wavfg2_d-1_S | 15111 | F | 3 | % vol | pedon | Weighted average total clay content for control section depths | whole soil | NSSL CMS
1237 | derived_analyte | Volume, >2mm, Weighted Average | vfg2_wtavg | wavfg2_d-1_S | 3805 | F | 3 | % vol | pedon | Weighted average total clay content for control section depths | whole soil | SSL LIMS Version 1.0
1238 | aggregate analyte | Water Retention, 1/3 Bar, Before Rewet | w3brw | W3Brw | 28 | F | 5.1 | % wt | layer | 1/3 bar water before rewet is the gravimetric percent water in clods after air drying when equilibrated at 1/3 bar water tension. It is reported on a <2 mm base. |  | SSL LIMS Version 1.0
633 | aggregate analyte | Water Retention, 1/3 Bar, Rewet | w3rw | W3rw | 135 | F | 5.1 | % wt | layer | 1/3 bar water rewet is the gravimetric percent water in clods after air drying when equilibrated at 1/3 bar water tension. It is reported on a <2 mm base. |  | NSSL CMS
629 | aggregate analyte | Water Retention, 1/3 Bar, Rewet | w3rw | W3rw | 33 | F | 5.1 | % wt | layer | 1/3 bar water rewet is the gravimetric percent water in clods after air drying when equilibrated at 1/3 bar water tension. It is reported on a <2 mm base. |  | SSL LIMS Version 1.0
635 | derived_analyte | Weighted Particles, 0.1-75mm, 75 mm Base | wf_0175_wtavg | wa0175_d-1_S | 14908 | F | 3 | % wt | pedon | Weighted average for the gravimetric percentage of 0.1 to 75 mm diameter particles is reported on a <75 mm base at specific depths. Silty families have <15%, loamy families >= 15%. | <75 mm | NSSL CMS
29 | derived_analyte | Weighted Particles, 0.1-75mm, 75 mm Base | wf_0175_wtavg | wa0175_d-1_S | 3888 | F | 3 | % wt | pedon | Weighted average for the gravimetric percentage of 0.1 to 75 mm diameter particles is reported on a <75 mm base at specific depths. Silty families have <15%, loamy families >= 15%. | <75 mm | SSL LIMS Version 1.0
453 | aggregate analyte | Zinc, Element Mehlich3 Extractable | zn_el_meh3 | ZnMeh3 | 1020 | F | 3.1 | mg/kg | layer | The zinc extracted by the Mehlich III solution. |  | SSL LIMS Version 1.0
1364 | aggregate analyte | Zinc, Water Extractable | zn_watx | Zn_wx | 791 | F | 3.1 | µg/kg | layer | The zinc extracted by the Water solution. |  | SSL LIMS Version 1.0
N Preps and S Preps can be combined in the ACCESS database for < 2 mm fraction reporting.